## Slide 1: Solar Cart
The search for alternative power for the shack
Don KI5AIU

## Slide 2: Why?
Looking to implement a single point of ground
Very difficult in my QTH
Estimated cost > $4000
So…..

## Slide 3: Alternatives
ICE generator
  Less expensive
  Noisy
  Can’t use indoors
  Maintenance (oil, filters, plugs)
  Fuel storage

## Slide 4: Solar?
Integrated Solution – Anker, Bluetti, Jackary
  Good package
  Portable
  Pricey (kW/hr)
  Not very expandable
  12v not very accessible (cigarette lighter, low amps)

## Slide 5: Solar
Individual components
  Pick best of class components
  Configure as needed
  Scalable, expandable
  Difficult to package cleanly

## Slide 6: Solar
All-in-One
  Good package
  Reasonable price
  Select major components
  Minimum external wiring (AC in/out, DC in, PV in)

## Slide 7: EGG4
EG4 3kW Off-Grid Inverter | 3000EHV-48 | 3000W Output | 5000W PV Input | 500 VOC Input

## Slide 8: EG4 3000EHV-48
Rated Power:3,000W
Max PV Input:5000W
Battery Voltage:48V
Max Charging Current:80AMax
MPPT Operating Voltage:500VDC
Rated AC Output Power:120V

## Slide 9: EG4 – LifePower4

## Slide 10: Connections

## Slide 11: What about 12v for radio?

## Slide 12: Solar Cart

## Slide 13: Scaleable

## Slide 14: Scaleable

## Slide 15: Questions?
Where: https://signaturesolar.com/
How much?
  Inverter $674
  Battery $1,259 (but there are less expensive options)